## Slide 1: Pelvic Sectional Anatomy and Imaging Technique
Alp Dincer, M.D
  Acıbadem University, School of Medicine,
  Department of Radiology
  Acıbadem Altunizde Hospital, İstanbul

## Slide 2: intro
Imaging Technique
Sectional Anatomy
Notes: <number>

## Slide 3: Aim
To demonstarte pelvic anatomy
To reveal or r/o possible cause

## Slide 4: imaging modalities
X-Ray
US
CT
DSA
MRA

## Slide 5: MRI
Standardisation
Aim:
demonstarion of genitourinal soft tissues
pelvic bones and muscles
vascular stuctures
nerves and plexus

## Slide 6: MR protocol
Array coil, if needed intravaginal or rectal coil
3T ?
High resolution standard 2D and 3D T1W/T2W w/o fat-sat or Dixon
DWI
Volumetric PD, STIR and T1
Dynamic volumetric T1 studies (arterial, venous and delayed)

## Slide 7: DWI-DTI
High resolution
At least 6 direction for DTI

## Slide 8: 3T MR Neurography
Lumbar Plexus: L1-L5
Sacral Plexus: L4-S4
Lumbosacral Plexus: L2-S4
3D SPACE STIR and/or PD
Muliplanar volüm reconstruction
MIP reconstruction